# puc dOCKET NO. 59336

| JOINT APPLICATION OF AEP TEXAS INC AND THE CITY OF SAN ANTONIO, ACTING BY AND THROUGH THE CITY PUBLIC SERVICE BOARD TO AMEND THEIR CERTIFICATES OF CONVENIENCE AND NECESSITY FOR THE HOWARD TO SOLSTICE 765-KV SINGLE-CIRCUIT TRANSMISSION LINE IN ATASCOSA, BANDERA, BEXAR, CROCKETT, EDWARDS, KERR, KINNEY, MEDINA, PECOS, REAL, SUTTON, TERRELL, UVALDE, AND VAL VERDE COUNTIES | § § § § § § § § § § § § § § | BEFORE THE PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

DIRECT TESTIMONY AND EXHIBITS

OF

ANTONIO J. DEMENDONCA

ON BEHALF OF APPLICANT

CITY OF SAN ANTONIO, ACTING BY AND THROUGH THE CITY PUBLIC SERVICE BOARD

March 2, 2026

TABLE OF CONTENTS

I.	INTRODUCTION	3

II.	DESCRIPTION OF THE PROJECT	6

III.	DESCRIPTION OF CPS ENERGY	6

IV.	STATION CONSTRUCTION	10

V.	IDENTIFICATION OF DIRECTLY AFFECTED PROPERTIES, NOTICE, AND PUBLIC INVOLVEMENT	9

VI.	ROUTING IN COMPLIANCE WITH PURA, THE COMMISSION'S RULES, CCN APPLICATION FORM, AND COMMISSION PRELIMINARY ORDERS	11

VII.	SUmmary and conclusion	14

EXHIBITS

Exhibit AJD-1 – Resume

Exhibit AJD-2 – PURA § 37.056

Exhibit AJD-3 – PUC Subst. R. 25.101

Exhibit AJD-4 – PUC Proc. R. 22.52

# INTRODUCTION

Q.	PLEASE STATE YOUR NAME AND BUSINESS ADDRESS.

A.	My name is Antonio J. DeMendonca.  My business address is 500 McCullough Avenue, San Antonio, Texas 78215.

Q.	BY WHOM ARE YOU EMPLOYED AND IN WHAT CAPACITY?

A.	I am employed by the City Public Service Board (CPS Energy) as an Energy Delivery Services (EDS) Project Manager.  Among other duties, I am serving as the Regulatory Case Manager (RCM) and am providing testimony in this docket on behalf of CPS Energy.

Q.	PLEASE DESCRIBE YOUR PROFESSIONAL AND EDUCATIONAL QUALIFICATIONS AND BUSINESS EXPERIENCE.

A.	My educational and professional qualifications are outlined in Exhibit AJD-1 attached to this testimony.

Q.	PLEASE DESCRIBE YOUR JOB RESPONSIBILITIES, PARTICULARLY AS THEY APPLY TO THIS PROJECT.

A.	For this project (the Howard to Solstice 765-kV Transmission Line Project or “Project”), I am responsible for identifying, co-managing, coordinating, and overseeing the completion of the tasks and activities required to seek and obtain the approval of the Public Utility Commission of Texas (Commission or PUC) to construct, own, operate, and maintain the new transmission line facilities.  Specifically, I have coordinated CPS Energy’s tasks and responsibilities with AEP Texas Inc. (AEP Texas) to meet the requirements of Public Utility Regulatory Act (PURA) § 37.056, 16 Texas Administrative Code (TAC) § 25.101(b)(3)(A) and (B), 16 TAC § 22.52(a), and the practices and procedures required of utility applicants in certificate of convenience and necessity applications to the PUC.  My responsibilities include some or all of the following:

- Co-manage and oversee the identification of directly affected landowners located within certain counties where CPS Energy facilities would likely be located if the Commission approves the Project;

- Assist in the review and preparation of exhibits used at the public open house meetings;

- Participate in the public open house meetings and ensure other CPS Energy subject matter experts attend the open house meetings to help answer questions and explain the Project to meeting attendees;

- Oversee and respond to public inquiries, and provide public input to WSP USA Inc. (the Routing Consultants) regarding the Project and CPS Energy’s participation in the Project;

- Coordinate with CPS Energy legal counsel, CPS Energy employees, and AEP Texas representatives in the preparation of the Howard-to-Solstice 765-kV Single-circuit Transmission Line Environmental Assessment and Alternative Route Analysis (EA), which was prepared by the Routing Consultants;

- Assist with the preparation of the joint application of CPS Energy and AEP Texas to the Commission (the “Application”) to amend their respective certificates of convenience and necessity (CCN) for construction, operation, and ownership of the Project, including coordinating with employees of CPS Energy and AEP Texas in developing a suite of route alternatives that address the applicable requirements of PURA (see Exhibit AJD-2), the PUC Substantive Rules (see Exhibit AJD-3), the PUC’s CCN application requirements, and issues commonly required to be addressed in PUC preliminary orders associated with CCN applications;

- Review and ensure the Application notice materials were provided to all affected parties in accordance with applicable PUC rules (see Exhibit AJD-4);

- Provide testimony in support of the Application at the Commission;

- Coordinate with construction and engineering teams to ensure that requirements of a PUC final order are included in Project plans;

- Coordinate with landowners requesting minor route modifications in accordance with the PUC final order following PUC approval.

Q.	HAVE YOU TESTIFIED PREVIOUSLY BEFORE THE COMMISSION?

A.	Yes. I filed written direct testimony in Commission Docket No. 57206 - Application of CPS        Energy to Amend its Certificate of Convenience and Necessity for the Ranchtown-to-Tally Road 138kV Transmission Line in Bexar and Medina Counties.

Q.	HAVE YOU REVIEWED THE AEP TEXAS WITNESS TESTIMONY CONCERNING PROJECT COST ESTIMATES, CONDUCTOR AND STRUCTURE SELECTIONS, AND RIGHT-OF-WAY (ROW)?

## A.	Yes, I have reviewed the testimony of AEP Texas witnesses Mr. Muhammad Umer and Mr. Brent Harris and believe their factual statements and conclusions are accurate and reasonable regarding the Project’s cost estimates, conductor and structure selections, Project schedule, and ROW widths as they apply to CPS Energy’s portion of the Project.

# DESCRIPTION OF THE PROJECT

Q.	PLEASE DESCRIBE THE PROJECT.

## In accordance with the Permian Basin Reliability Plan proposed by the Electric Reliability Council of Texas (ERCOT) in July 2024, and approved by the PUC in October 2024 in Docket 55718, and the Commission’s Second Order issued on April 24, 2025 in that same docket, CPS Energy and AEP Texas are jointly assigned to build and operate a new 765-kV, single-circuit transmission line referred to as the Howard to Solstice 765-kV Transmission Line.  The new transmission line will connect CPS Energy’s Howard 765-kV station expansion near the existing CPS Energy Howard 345-kV station in Bexar County to AEP Texas’ Solstice 765-kV station expansion in Pecos County.  The alternative proposed 765-kV transmission line routes are located in portions of 14 Texas counties.

## As proposed in the Application, CPS Energy and AEP Texas are co-applicants in this proceeding.   If the Commission approves the Project, CPS Energy will construct, own, operate, and maintain the eastern half (50 percent) of the new transmission line, including conductors, wires, structures, hardware, and easements as well as acquire all necessary substation land and equipment including, but not limited to, transformers, breakers, and reactors associated with the construction of CPS Energy’s Howard 765-kV station expansion.  The CPS Energy portion of the Project will begin at the expanded Howard 765-kV station in Bexar County and terminate at a midway point to be determined following the approval of the Project and selection of a final route by the Commission.

## In turn, AEP Texas will construct, own, operate, and maintain the western half (50 percent) of the transmission line beginning at AEP Texas’ expanded Solstice 765-kV station to a midway point to be determined following the final route selection and approval of the Project.  AEP Texas will own, operate, and maintain all transmission line facilities, including conductors, wires, structures, hardware, and easements as well as acquire all necessary land and equipment required for the construction of the Solstice 765-kV Station expansion.  Following approval of the Project by the Commission, each utility will be responsible for its respective portions of the Project, including line design, acquisition of land rights, material procurement, construction, and any necessary permitting for their half of the Project.  CPS Energy may contract with AEP Texas to perform some of these functions.

Q.	WILL CPS ENERGY REQUIRE ANOTHER CCN APPLICATION AMENDMENT TO  INTERCONNECT THE HOWARD TO SOLSTICE PROJECT TO THE ERCOT GRID?

## A.	Yes.  Based on the availability of property suitable for the construction of the expanded Howard 765-kV station expansion, an additional CCN application will be required for a short (less than one mile) 345-kV double-circuit transmission line connection between the existing CPS Energy Howard 345-kV station and the expanded Howard 765-kV station proposed in the Application.  That application will be filed at the Commission at a later date this year.

Q.	WHAT IS THE PURPOSE OF YOUR TESTIMONY IN THIS DOCKET?

## A.	My testimony addresses the following:

- Describe CPS Energy;

- The Application’s compliance with PURA and the Commission’s rules and orders, including compliance with requirements relating to the public participation process and provision of notice; and

- CPS Energy’s and AEP Texas’ process for identifying and evaluating an adequate number of geographically diverse transmission line route alternatives that are in compliance with the rules, policies, and orders of the Commission.

Q.	WERE YOUR TESTIMONY AND THE PORTIONS OF THE APPLICATION YOU SPONSOR PREPARED BY YOU OR BY KNOWLEDGEABLE PERSONS UPON WHOSE EXPERTISE, JUDGMENT, AND OPINIONS YOU RELY ON IN PERFORMING YOUR DUTIES?

## A.	Yes.

Q.	IS THE INFORMATION CONTAINED IN YOUR TESTIMONY AND IN THE PORTIONS OF THE APPLICATION AND APPLICATION ATTACHMENTS YOU SPONSOR TRUE AND CORRECT TO THE BEST OF YOUR KNOWLEDGE AND BELIEF?

## A.	Yes.  In addition to the testimony offered herein, I sponsor or co-sponsor CPS Energy’s and AEP Texas’ responses to Question Nos. 1-13, 17-18, 20, and 25 in the Application, as well as Attachment Nos. 2, 4, 5, and 8-14 to the Application.  CPS Energy and AEP Texas will offer the Application, as it may be amended and/or supplemented, into evidence at the hearing on the merits.

# DESCRIPTION OF CPS ENERGY

Q.	PLEASE DESCRIBE CPS ENERGY.

A.	CPS Energy is the largest municipally owned energy company in the nation.  CPS Energy is independently governed by its own Board of Trustees, which has authority under statute and ordinance to operate and manage the electric system for the City and nearby areas.  As a Transmission Service Provider (TSP) in Texas and as an owner and operator of transmission facilities within the ERCOT region, CPS Energy constructs, owns, and operates regional transmission facilities pursuant to the requirements of PURA and as designated and assigned by ERCOT.

Q.	PLEASE DESCRIBE CPS ENERGY’S TRANSMISSION SYSTEM.

## A.	Presently, CPS Energy owns and operates approximately 1,555 circuit miles of high voltage transmission lines in Central Texas within the ERCOT region.  In addition, CPS Energy owns or operates facilities at approximately 121 substations.

Q.	PLEASE DESCRIBE HOW CPS ENERGY WILL FINANCE THE PROJECT.

## A.	CPS Energy will finance its portion of the Project in a similar manner to the approach that has been used for projects previously constructed by CPS Energy.  Financing may include a combination of cash, tax-exempt commercial paper, tax-exempt private revolving notes, or taxable commercial paper, and, subsequent to project completion, fixed-rate debt.  Interest on the debt may be capitalized until the Project is in service, at which point it is intended that both the principal and interest will be serviced with Transmission Cost of Service revenues.

Q.	WHAT IS CPS ENERGY’S SCHEDULE FOR ITS PORTION OF THE PROJECT?

## A.	The estimated schedule for CPS Energy’s portion of the transmission line facilities associated with the Project is shown in the table below.

| Estimated Dates of: | Start | Completion |
| --- | --- | --- |
| Right-of-way and Land Acquisition | September 2026 | October 2028 |
| Engineering and Design | September 2026 | June 2028 |
| Material and Equipment Procurement | September 2026 | March 2030 |
| Construction of Facilities | May 2028 | September 2030 |
| Energize Facilities | N/A | October 2030 |

# STATION CONSTRUCTION

Q.	WILL STATION CONSTRUCTION BE REQUIRED IN CONNECTION WITH THE PROJECT?

## Yes.  The Project requires CPS Energy’s existing Howard 345-kV Station to be expanded to add 765-kV and 345-kV equipment to tie the new 765-kV transmission line into the 345-kV system in this location.  The Howard 765-kV Station expansion will be constructed on fee-owned property in proximity to CPS Energy’s existing Howard 345-kV Station in Bexar County, Texas.  The Howard 765-kV Station will include the installation of two new 765/345 kV autotransformers connected into the two new positions at the Howard 345-kV Station.  A spare single-phase 765/345-kV autotransformer shall be included in the design. The Howard 765-kV Station will also include a line terminal to support a 765-kV transmission line from AEP Texas’ Solstice 765-kV Station to CPS Energy’s Howard 765-kV Station. This includes a 300-Mvar, 765-kV reactor bank comprised of 100-Mvar reactors per phase directly connected to the Howard to Solstice 765-kV transmission line. A spare single-phase 100-Mvar reactor shall be included in the design.

## Additionally, the Howard 765-kV Station will be designed and built to accommodate a total of four line terminals to support the full 765-kV transmission build out. The Howard 765-kV station will be built in a double-bus, double-breaker configuration for the four transmission line terminals and built in a breaker-and-half configuration for the two autotransformer connections. Applicants witness Brent Harris describes station construction required for the AEP Texas Solstice 765-kV Station.

# IDENTIFICATION OF DIRECTLY AFFECTED PROPERTIES, NOTICE, AND PUBLIC INVOLVEMENT

Q.	PLEASE DESCRIBE CPS ENERGY’S PROCESS FOR IDENTIFYING LANDOWNERS THAT ARE DIRECTLY AFFECTED BY ITS PORTION OF THE PROJECT.

In providing notice for the Application, CPS Energy followed the process established in PUC Procedural Rule 22.52, which requires applicants to notify directly affected landowners as identified on county tax rolls.  According to the Commission’s rule, land is affected if an easement or other property interest would be obtained over all or any portion of it, or if it contains a habitable structure that would be within 500 feet of the centerline of a transmission line greater than 230 kV.  CPS Energy identified and is, along with AEP Texas, providing notice at the time of the filing of the Application to owners of all parcels crossed by any of the route links included in Application and to owners of all land within 520 feet of the centerline of all routes included in the Application.  In accordance with the Commission rule, landowner names and addresses were identified based on data from the county appraisal districts.

Q.	DID CPS ENERGY AND AEP TEXAS HOLD PUBLIC OPEN HOUSE MEETINGS ABOUT THE PROJECT PRIOR TO FILING THE APPLICATION?

## A.	Yes.  Four public open house meetings were held for the Project as listed below:

- August 4, 2025 – Atascosa, Texas (Silverado Event Center)

- August 5, 2025 – Uvalde, Texas (Uvalde County Event Center)

- August 6, 2025 – Del Rio, Texas (Enchanted Event Center)

- August 7, 2025 – Fort Stockton, Texas (Fort Stockton Convention Center)

The open house meetings utilized a come and go format allowing attendees to view and visit various information stations at their own pace and in a sequence of their preference.  Each station had representatives from AEP Texas, CPS Energy, the Routing Consultants and/or land abstract contractors to help explain and answer questions about the information being presented.  Meeting attendees were asked to sign in and were provided with a Frequently Asked Questions document and a preliminary route segment map to take with them.  Attendees were also given a project questionnaire/comment card and were encouraged to provide written comments about the Project and their input about the preliminary alternative links.

Additional information concerning the public involvement process can be found in Section 2.7.4 of the EA.  An example of the CPS Energy invitation letter and copies of the attachments are provided in Appendix B of the EA.

Q.	DID CPS ENERGY AND AEP TEXAS PROVIDE NOTICE OF THE OPEN HOUSE MEETINGS PURSUANT TO PUC PROCEDURAL RULE 22.52?

## Yes, CPS Energy provided direct mail notice of the four public meetings by first-class mail to owners of land crossed by or within 520 feet of the centerline of the preliminary alternative links on the eastern half of the study area. AEP Texas provided notice of the four public meetings to landowners with land on the western half. Information regarding owners of land and their mailing addresses was obtained from the counties’ tax rolls (the central appraisal districts).  Due to potential horizontal accuracy limitations relating to appraisal district data and aerial photography interpretation when developing preliminary alternative links, identification and notification of landowners was intentionally above what is required in PUC Procedural Rule 22.52(a)(4).

## Besides noticing landowners, CPS Energy provided notice of the open house meetings and associated information regarding the Project to the Department of Defense Siting Clearing House (now the Military Aviation and Installation Assurance Siting).  Local public officials and various state and federal officials were also mailed written notice of the meetings.

# ROUTING IN COMPLIANCE WITH PURA, THE COMMISSION’S RULES, CCN APPLICATION FORM, AND COMMISSION PRELIMINARY ORDERS

Q.	ARE YOU FAMILIAR WITH THE PROVISIONS IN PURA RELATED TO CCN AMENDMENTS?

## Yes.  PURA § 37.056(c)(4) (attached to my testimony as Exhibit AJD-2) requires the Commission to consider such factors as: (A) community values, (B) recreational and park areas, (C) historical and aesthetic values, and (D) environmental integrity in determining whether to grant a CCN amendment.  The Application presented in this proceeding and each route and constituent segment contained in that Application have been evaluated by CPS Energy regarding the statutory factors of PURA listed above.  The Application and attachments, including the EA, provide the Commission with information about each statutory factor in a manner that allows the Commission to properly evaluate the Application.

Q.	ARE YOU FAMILIAR WITH THE ROUTING CRITERIA IDENTIFIED IN PUC SUBSTANTIVE RULE 25.101(b)(3)(B)?

## A.	Yes.  The routing criteria referenced in this part of the PUC’s Substantive Rules are attached to my testimony as Exhibit AJD-3.  PUC Substantive Rule 25.101(b)(3)(B) requires that, to the extent reasonable without compromising reliability and safety and considering the requirements of PURA § 37.056 (attached as Exhibit AJD-2), known engineering constraints, and costs, proposed electric transmission lines should be routed in such a manner as to: (1) parallel or utilize existing compatible ROW for electric facilities, including the use of vacant positions on existing multiple-circuit transmission lines;  (2) parallel or utilize other existing compatible ROW, including roads, highways,  railroads, or telephone utility ROW;  (3) parallel property lines or other natural or cultural features; and  (4) conform to the PUC’s policy of prudent avoidance.

Q.	WERE THE ALTERNATIVE ROUTES AND ALTERNATIVE LINKS INCLUDED IN THE APPLICATION IDENTIFIED IN ACCORDANCE WITH THE COMMISSION’S ROUTING CRITERIA?

## A.	Yes.  Where feasible, the alternative routes and alternative links included within the Application utilize compatible routing corridors by paralleling existing ROW, property lines, and other natural or cultural features.  Considering PURA § 37.056, PUC Substantive Rule 25.101(b)(3)(B), and the PUC’s policy of prudent avoidance, the alternative routes presented in the Application moderate the impact on the affected communities and directly affected landowners.

Q.	DOES THE APPLICATION CONTAIN AN ADEQUATE NUMBER OF ALTERNATIVE ROUTES TO CONDUCT A PROPER EVALUATION?

## A.	Yes.  As proposed, the Application includes an adequate number of geographically diverse routes from the Howard station to the Solstice station.  The testimony of Mr. Gary McClanahan filed in support of this Application addresses in greater detail the diversity of alternative routing options included in the Application that result from the combination of alternative links between the two endpoints.

Q.	DID CPS ENERGY AND AEP TEXAS IDENTIFY A ROUTE THAT THEY BELIEVE BEST ADDRESSES THE REQUIREMENTS OF PURA AND THE PUC SUBSTANTIVE RULES?

## A.	Yes. Alternative Route 4 was identified by CPS Energy and AEP Texas as the route that best addresses the requirements of PURA and the PUC’s Substantive Rules at the time of the filing of the Application.  However, CPS Energy supports all 77 route options in the Application, and any reasonably forward-progressing route that can be delineated from the individual alternative links as viable options, consistent with the applicable routing criteria.  Additional information concerning the identification of Alternative Route 4 is presented in response to Question No. 17 of the Application.

# SUmmary and conclusion

Q.	PLEASE SUMMARIZE YOUR TESTIMONY.

## A.	All of the proposed alternative routes presented in the Application comply with the factors in PURA § 37.056; PUC Substantive Rule 25.101(b)(3)(B), including the policy on prudent avoidance; the Commission’s CCN application form; and the issues commonly included for consideration in the Commission’s preliminary orders for CCN projects.  CPS Energy and AEP Texas have followed applicable regulatory requirements, including notice requirements, and are willing to build any of the 77 routes contained in the Application or any other reasonably forward-progressing route composed of the links contained in the Application that meet the need for the Project.

Q.	DOES THIS CONCLUDE YOUR DIRECT TESTIMONY?

## A.	Yes, it does.